## Slide 1
Fiber Reinforced Polymer Systems

## Slide 2: VDOT Requirements Fiber Reinforced Polymer Systems
Fiber Reinforced Polymer Systems consist of installing carbon reinforced polymer (FRP) wrap for repairing and /or strengthening concrete superstructure or substructure members.
Section 412.03 (s) of the VDOT Specifications – Fiber Reinforced Polymer System.
Measured and paid for by the square foot.
Fiber Reinforced Polymer Wraps shall meet the requirements of the specific conditions of the project as determined by the Engineer. Material requirements for acceptable systems will be included in the Contract.
The plans will provide the flexural, shear, or axial strength requirements for the member to be repaired or strengthened.

## Slide 3: Fiber Reinforced Polymer Systems
The contractor shall submit working drawings.
The contractor shall submit a Quality Assurance Plan .
Qualifications of Contractor - Contractor/Sub-Contractor shall be approved by the Engineer for each FRP system scheduled for use on the project .
Manufacturer’s Representative: The Contractor shall have present during the installation of the FRP system, a manufacturer’s representative, knowledgeable in the methods of installation
of the FRP system.
The manufacturer’s representative shall certify that the system was properly installed at the completion of the installation prior to final payment to the Contractor.

## Slide 4: Fiber Reinforced Polymer Systems
The FRP system shall be installed in accordance with the recommendations of the manufacturer of the FRP system.
During installation of the FRP materials, the installer shall maintain a daily log.
Statewide Average Unit Prices as ofJuly8, 2019
  Superstructure FRP Wrap = $260/SF
  Substructure FRP Wrap - $66/SF

## Slide 5: Fiber Reinforced Polymer Systems
AASHTO Guide Specifications for Design of Bonded FRP Systems for Repair and Strengthening of Concrete Bridge Elements, 1st Edition

## Slide 6: Fiber Reinforced Polymer Systems
ACI 440.2R-17: Guide for the Design and Construction of Externally Bonded FRP Systems for Strengthening Concrete Structures

## Slide 7: Fiber Reinforced Polymer Systems
FHWA Report on Techniques for Bridge Strengthening
https://www.fhwa.dot.gov/bridge/pubs/hif18041.pdf
This report provides a summary of the findings of Task 6: Report on Techniques for Bridge Strengthening, one task performed under Project Award: DTFH61-11-H-00027: Advancing Steel and Concrete Bridge Technology to Improve Infrastructure Performance.
It has been found that the vast majority of new strengthening methods involve applications of composite materials including (1) externally bonding FRP, (2) near-surface-mounting FRP, (3) post-tensioning of FRPs, (4) fiber reinforced cementitious matrix as a strengthening system, (5) spray FRP as a strengthening system, and (6) column retrofitting with FRPs.

## Slide 8: Fiber Reinforced Polymer Systems
Reference Slides

## Slide 9: Fiber Reinforced Polymer Systems
The Contractor shall submit the following documents to the Engineer for approval prior to beginning the work:
  Working Drawings shall be submitted to the Engineer for review in accordance with Section 105.10. The working drawings shall be certified by a Professional Engineer holding a valid license to practice engineering in the Commonwealth of Virginia.
  Working drawings shall include the type of FRP system, number of layers and orientation of all FRP materials, repair locations, relevant dimensions of the system and the work plan including the necessary preparations of the existing structure. The drawings must be accompanied by the design calculations, the MSDS and the manufacturer’s system data sheet identifying mechanical, physical and chemical properties of all components of the FRP system; application guide, including the installation and maintenance procedures; and time schedule for various steps in the repair process. The installation procedure must clearly identify any environmental and substrate conditions that may affect the application and curing of the FRP system. The design calculations shall be performed in accordance with the current AASHTO and ACI specifications and guidelines for FRP systems.

## Slide 10: Fiber Reinforced Polymer Systems
Quality Assurance Plan - The Contractor shall be responsible for developing and implementing a quality assurance plan for all FRP materials and processes scheduled for use on the project. The quality assurance plan must be submitted to and approved by the Engineer prior to beginning FRP operations on the project. The plan shall include specific procedures for personnel safety, tracking and inspection of all FRP components prior to installation, inspection of all prepared surfaces prior to FRP application, inspection of the work in progress to assure conformity with specifications, quality assurance samples, inspection of all completed work including necessary tests for approval, repair of any defective work, and disposal and clean-up. Any part of the work that fails to comply with the Contractor’s approved Quality Assurance Plan and the Contract requirements will be rejected by the Engineer, and shall be remedied, or removed and replaced by the Contractor at his own expense.

## Slide 11: Fiber Reinforced Polymer Systems
Qualifications of Contractor - Contractor/Sub-Contractor shall be approved by the Engineer for each FRP system scheduled for use on the project after providing the following necessary information:
  a. Minimum of 3 years of documented experience in installing the designated FRP system or 15 documented similar field applications within the last 5 years with acceptable reference letters from respective Owners; and
  b. Certificate of completed training from Manufacturer/Supplier for at least one field representative who will be present on site throughout the project

## Slide 12: Fiber Reinforced Polymer Systems
Manufacturer’s Representative: The Contractor shall have present during the installation of the FRP system, a manufacturer’s representative, knowledgeable in the methods of installation of the FRP system, for technical expertise and to certify that the Contractor’s personnel installing the system are knowledgeable and are installing the system’s components in accordance with the manufacturer’s instructions. The Contractor shall also arrange to have the manufacturer’s representative present during testing of the material by the Engineer. The manufacturer’s representative shall certify that the system was properly installed at the completion of the installation prior to final payment to the Contractor.

## Slide 13: Fiber Reinforced Polymer Systems
The FRP system shall be installed in accordance with the recommendations of the manufacturer of the FRP system
During installation of the FRP materials, the installer shall maintain a daily log. This log shall provide material tracking and process records for each installation and shall include the following information:
  • Structural element identification with project name, contract number, and installation date.
  • Materials information including product name, description, date of manufacture, time of expiration, and lot or batch numbers.
  • Fabrication, inspection and verification data for the manufacturing and construction operations including square footage of fabric and volume of epoxy used each day, number of layers, thickness measurements, ambient temperature and humidity readings at the beginning, middle and end of each casing installation shift.